# Harrow Creek WTP: Equipment Schedules

# 1 Equipment

The schedules below list the plant's pumps, blowers and valves at their rated points.

Table 1a. Raw water pumps

| Raw water pumps | Capacity (gpm) | TDH (ft) | Power (hp) | Speed (rpm) |
| --- | --- | --- | --- | --- |
| P-101A | 7,824 | 134.8 | 292 | 1,679 |
| P-101B | 8,837 | 62.5 | 264 | 1,160 |
| P-101C | 7,650 | 132.1 | 177 | 1,657 |

Table 1b. Process air blowers

| Process air blowers | Airflow (scfm) | Pressure (psig) | Power (hp) | Speed (rpm) |
| --- | --- | --- | --- | --- |
| B-401 | 2,837 | 6.58 | 49 | 3,153 |
| B-402 | 1,632 | 8.95 | 57 | 3,552 |
| B-403 | 2,164 | 8.27 | 70 | 3,183 |

Table 2. Valve schedule

| Valves | Cv | Rating (psi) | Stroke time (s) |
| --- | --- | --- | --- |
| V-301 | 605 | 141 | 62.2 |
| V-302 | 3,963 | 175 | 45.4 |
| V-303 | 902 | 185 | 48.1 |
| V-304 | 2,754 | 239 | 54.4 |
| V-305 | 1,939 | 266 | 11.8 |
| V-306 | 4,528 | 295 | 13.3 |
| V-307 | 4,097 | 288 | 60.2 |
| V-308 | 2,756 | 186 | 86.1 |
| V-309 | 327 | 289 | 51.5 |
| V-310 | 2,033 | 297 | 24.2 |
| V-311 | 261 | 196 | 38.6 |
| V-312 | 3,115 | 262 | 31.9 |
| V-313 | 3,515 | 199 | 80.6 |
| V-314 | 1,963 | 209 | 25.9 |
| V-315 | 2,388 | 259 | 39.9 |
| V-316 | 2,910 | 125 | 80.4 |
| V-317 | 2,057 | 234 | 15.4 |
| V-318 | 3,786 | 154 | 62.8 |
| V-319 | 4,274 | 238 | 31.5 |
| V-320 | 2,346 | 255 | 75.3 |