# Harrow Creek WTP: Equipment Data Sheets

# 1 High Service Pumps

Each high service pump's data sheet gives its rated point and its motor.

Data sheet 1. High service pump P-201A

| Pump | P-201A |
| --- | --- |
| Service | High service |
| Capacity (gpm) | 3,609 |
| TDH (ft) | 100.6 |
| Motor power (hp) | 150 |
| Speed (rpm) | 1,745 |

Data sheet 2. High service pump P-201B

| Pump | P-201B |
| --- | --- |
| Service | High service |
| Capacity (gpm) | 4,887 |
| TDH (ft) | 75.5 |
| Motor power (hp) | 99 |
| Speed (rpm) | 1,317 |

Data sheet 3. High service pump P-201C

| Pump | P-201C |
| --- | --- |
| Service | High service |
| Capacity (gpm) | 5,865 |
| TDH (ft) | 53.2 |
| Motor power (hp) | 196 |
| Speed (rpm) | 1,565 |

# 2 Storage

The clearwell stores finished water ahead of the high service pumps.

Data sheet 4. Clearwell

| Volume (MG) | 4.2 |
| --- | --- |
| Diameter (ft) | 183 |
| Side water depth (ft) | 24.2 |
| Baffle factor | 0.43 |

Bulk chemicals are stored in the chemical building.

Table 1. Chemical storage

| Chemical | Storage (gal) |
| --- | --- |
| Alum | 16,787 |
| Sodium hypochlorite | 5,496 |
| Caustic soda | 2,798 |