# Harrow Creek WTP: Equipment Schedules

| # 1 Equipment The schedules below list the plant's pumps, blowers and valves at their rated points. Table 1a. Raw water pumps Raw water pumps; Capacity (gpm); TDH (ft); Power (hp); Speed (rpm). P-101A; 7,824; 134.8; 292; 1,679. P-101B; 8,837; 62.5; 264; 1,160. P-101C; 7,650; 132.1; 177; 1,657. Table 1b. Process air blowers Process air blowers; Airflow (scfm); Pressure (psig); Power (hp); Speed (rpm). B-401; 2,837; 6.58; 49; 3,153. B-402; 1,632; 8.95; 57; 3,552. B-403; 2,164; 8.27; 70; 3,183. | Table 2. Valve schedule Valves; Cv; Rating (psi); Stroke time (s). V-301; 605; 141; 62.2. V-302; 3,963; 175; 45.4. V-303; 902; 185; 48.1. V-304; 2,754; 239; 54.4. V-305; 1,939; 266; 11.8. V-306; 4,528; 295; 13.3. V-307; 4,097; 288; 60.2. V-308; 2,756; 186; 86.1. V-309; 327; 289; 51.5. V-310; 2,033; 297; 24.2. V-311; 261; 196; 38.6. V-312; 3,115; 262; 31.9. V-313; 3,515; 199; 80.6. V-314; 1,963; 209; 25.9. V-315; 2,388; 259; 39.9. V-316; 2,910; 125; 80.4. V-317; 2,057; 234; 15.4. V-318; 3,786; 154; 62.8. V-319; 4,274; 238; 31.5. V-320; 2,346; 255; 75.3. |
| --- | --- |