# Harrow Creek WTP: Equipment Schedules

# 1 Equipment

The schedules below list the plant's pumps, blowers and valves at their rated points.

Table 1a. Raw water pumps

| Raw water pumps | Rated point | Motor |
| --- | --- | --- |
| P-101A | Capacity (gpm); 7,824. TDH (ft); 134.8. | Power (hp); 292. Speed (rpm); 1,679. |
| P-101B | Capacity (gpm); 8,837. TDH (ft); 62.5. | Power (hp); 264. Speed (rpm); 1,160. |
| P-101C | Capacity (gpm); 7,650. TDH (ft); 132.1. | Power (hp); 177. Speed (rpm); 1,657. |

Table 1b. Process air blowers

| Process air blowers | Airflow (scfm) | Pressure (psig) | Power (hp) | Speed (rpm) |
| --- | --- | --- | --- | --- |
| B-401 | 2,837 | 6.58 | 49 | 3,153 |
| B-402 | 1,632 | 8.95 | 57 | 3,552 |
| B-403 | 2,164 | 8.27 | 70 | 3,183 |

Table 2. Valve schedule

| Area | Valves |
| --- | --- |
| Raw water intake | Valves; Cv; Rating (psi); Stroke time (s). V-301; 605; 141; 62.2. V-302; 3,963; 175; 45.4. V-303; 902; 185; 48.1. V-304; 2,754; 239; 54.4. V-305; 1,939; 266; 11.8. V-306; 4,528; 295; 13.3. V-307; 4,097; 288; 60.2. V-308; 2,756; 186; 86.1. V-309; 327; 289; 51.5. V-310; 2,033; 297; 24.2. |
| Filter gallery | Valves; Cv; Rating (psi); Stroke time (s). V-311; 261; 196; 38.6. V-312; 3,115; 262; 31.9. V-313; 3,515; 199; 80.6. V-314; 1,963; 209; 25.9. V-315; 2,388; 259; 39.9. V-316; 2,910; 125; 80.4. V-317; 2,057; 234; 15.4. V-318; 3,786; 154; 62.8. V-319; 4,274; 238; 31.5. V-320; 2,346; 255; 75.3. |